## Slide 1: Driving Down CO2 Emissions and Electricity Costs: Unveiling the Power of Transportation-Based Microgrids
Luis Fernando Enriquez-Contreras
University of California, Riverside
March 14, 2024

## Slide 2
Outline
Introduction
Methodology Results
Conclusions and Future Work

## Slide 3: Introduction I
Electrification of Transportation
  Electric vehicle (EV) adoption is increasing rapidly, with 25.4% of Q2 2023 vehicle sales being EVs in California
  California aims to ban the sale of internal combustion engine vehicles by 2035
  The state is expanding its EV charging infrastructure, with over 13,844 Level 2 and 1,924 Level 3 stations as of November 2023
  Technological advances allow new EVs to charge up to 80% in 20-60 minutes, making EVs more appealing
  This rapid charging capability poses challenges for grid operators due to the high electricity demand it creates
Challenges
  Two key challenges exist:
    Providing enough electricity capacity for the growing number of EVs
    Minimizing the CO2 emissions associated with battery electric vehicles by ensuring a clean grid

## Slide 4: Introduction II
Solution
  Microgrids offer a potential solution to both challenges
  Microgrids can integrate renewable energy sources and EV charging stations, reducing the burden on the main grid and minimizing CO2 emissions
Research Focus
  Further research is needed to understand the economic and environmental impacts of EV charging, especially fast charging, and how microgrids can be effectively utilized to manage EV demand and promote a sustainable transportation future

## Slide 5
Purpose and Contributions
This research holds significant implications for the advancement of intelligent transportation systems, as it aims to address the economic needs of EV charging infrastructure owners and determine the optimal configuration that benefits both EV owners and the environment by minimizing greenhouse gas emissions
This paper delves into the impacts of transportation-microgrids equipped with Level 2 and Level 3 charging on the behavior of microgrids, associated electricity costs, and CO2 emissions within the context of southern California
The simulations are conducted using OpenModelica, a dynamic modeling and simulation environment
This study distinguishes itself from previous research in many ways, including employing a higher time resolution for calculating CO2 emissions that is measured every 15 minutes and updated net energy metering rates for Riverside Public Utility

## Slide 6: Microgrid Setup in OpenModelica
BESS
Solar
EV Chargers
UCR Office Building
Controllable Panel
Power Grid
4x Level 2 Chargers
1x Level 3 Charger
Building HVAC Loads
Building Plug Loads
AC
AC
Battery Energy Storage Inverter | DC | 500 kWh Lithium Battery Array
AC
100 kW Solar Panel Array | DC | Solar Panel Inverter
Figure: Microgrid Architecture of our Case Study Example BESS: Battery Energy Storage System

## Slide 7: Behavior of Level 2 Charger Users
00:00
00:02
00:04
00:06
00:08
00:10
00:12
00:14
00:16
00:18
00:20
00:22
150
100
50
0
Level 2 Chargers Number of Sessions in One Year
Time
Number of Sessions
Figure: Level 2 EV Charger Probability Density Function Created by Using Actual Charging Data Obtained from a SCADA System

## Slide 8: Results
The charging setup is modified in OpenModelica for different layouts and scenarios
The scenarios are described in Table 1
Table: Simulated Scenarios of the UCR Microgrid using Different Layouts and Electric Pricing Structures
Scenario
1
2
3
4
5
6
7
8
Standard Building with no EV Chargers Standard Building with Level 2 Charging
Standard Building with Level 2 and Level 3 Charging
Microgrid Building with 100 kW Solar, 500 kWh BESS, and No EV Charging
Microgrid Building with 100 kW Solar, 500 kWh BESS, and Level 2 Charging
Microgrid Building with 100 kW Solar, 500 kWh BESS, Level 2, and Level 3 Charging Microgrid Building with 100 kW Solar, 1 MWh BESS, and Level 2 Charging
Microgrid Building with 100 kW Solar, 1 MWh BESS, Level 2, and Level 3 Charging

## Slide 9: Results
Scenario 1
Scenario 2
Scenario 3
Scenario 4
Scenario 5
Scenario 6
Scenario 7
Scenario 8
−100
−50
0
50
Scenario 1
Scenario 2
Scenario 3
Scenario 4
Scenario 5
Scenario 6
Scenario 7
Scenario 8
Scenarios Power Output From: July 01, 2022 to July 31, 2022
Demand (kW)
min:-58.6
q1:-36.8
med:-26.7
q3:-18.6
max:0.0
min:-70.5
q1:-38.5
med:-27.6
q3:-18.6
max:0.0
min:-120.5
q1:-41.7
med:-29.2
q3:-18.8
max:0.0
min:-22.2
q1:-0.0
med:0.0
q3:0.0
max:64.6
min:-24.5
q1:-0.0
med:0.0
q3:0.0
max:64.6
min:-74.7
q1:-0.0
med:-0.0
q3:0.0
max:62.8
min:-24.5
q1:-0.0
med:0.0
q3:0.0
max:64.6
min:-71.6
q1:-0.0
med:-0.0
q3:0.0
max:1.2
Scenarios
Figure: Power Measured from the Meter for the Month of July

## Slide 10: Results
Jul 3
2022
10 / 25
Jul 10
Jul 17
Jul 24
Jul 31
−20k
0
20k
40k
60k
Scenario 7 Microgrid Output
From: July 01, 2022 to July 31, 2022
Demand (kW)
Time
Figure: Peak Shaving Failure after Battery Depletion (Level 2 Charging, 500 kWh BESS)

## Slide 11: Results
Jul 3
2022
Jul 10
Jul 17
Jul 24
Jul 31
0
−10k
−20k
−30k
−40k
−50k
−60k
−70k
Scenario 8 Microgrid Output
From: July 01, 2022 to July 31, 2022
Demand (kW)
Time
Figure: Peak Shaving Failure after Battery Depletion (Level 2 and Level 3 Charging, 500 kWh BESS)

## Slide 12: Results
Table: Microgrid Utility Prices and CO2 Emissions Output under Different Pricing Battery Sizes and EV Charging Demands
Scenario | Demand Charges ($) | Energy Charges ($) | Total Cost ($) | Emissions
1 | 6616 | 22736 | 29352 | 34
2 | 8196 | 24607 | 32803 | 37
3 | 14235 | 29693 | 43928 | 43
4 | 3887 | 2387 | 6274 | 5
5 | 5133 | 3853 | 8986 | 7
6 | 11329 | 8238 | 19567 | 14
7 | 5022 | 3814 | 8836 | 7
8 | 11400 | 8133 | 19533 | 14

## Slide 13: Results
Figure: Microgrid CO2 Emissions Outputs Averages During Times of Day: Adding a microgrid significantly reduces CO2 Emissions compared to the non-microgrid scenarios of 1, 2, and 3.

## Slide 14: Conclusions and Future Work I
Transportation Microgrids Benefits:
  Reduced Electricity Costs:
    Load-Following Algorithm: $23,000 - $24,000 annual savings
    Cost of Demand Saved: Follows total cost trend (around $3,000)
    Cost of Energy Saved: Follows total cost trend (around $21,000)
  Reduced CO2 Emissions:
    Load-Following Algorithm: 67% - 85% reduction (30 tons CO2/year)
Key Considerations for Optimization:
  Balance Clean Energy Sources (Solar/Wind) with Load:
    Level 2 chargers: manageable for office buildings
    Level 3 fast chargers: require additional clean energy sources
  Net Energy Metering Policy:
    Incentivizes low CO2 load-following operation of a microgrid instead of peak-shaving
  Battery Capacity (BESS):
    Increased capacity for extreme solar outages is expensive with diminishing returns on CO2/cost savings
    Requires additional solar power for full battery charge during daylight

## Slide 15: Conclusions and Future Work II
Effective Microgrid Planning:
  Requires all three aspects:
    Clean Energy Generation
    Energy Storage
    Load Management
Future Work
  Explore advanced control strategies for optimizing electric costs and CO2 emissions in transportation-microgrid.
  Assess effects of new net energy metering policy in California on BESS system value.
  Analyze impact of different time-of-use (TOU) rates in California on electric costs and CO2 emissions.
  Investigate methods to maximize clean energy utilization and minimize grid power during high CO2 times.

## Slide 16
Questions?

## Slide 17
Thank You

## Slide 18: References I
S. o. California, “California releases world’s first plan to achieve net zero carbon pollution,” Nov 2022. [Online]. Available: https://www.gov.ca.gov/2022/11/16/ california-releases-worlds-first-plan-to-achieve-net-zero-carbon-pollution/
PowerFlex, “California energy commission mandates new buildings must have solar storage,” Jan 2023. [Online]. Available: https://www.powerflex.com/blog/
california-energy-commission-mandates-that-new-buildings-must-have-solar-storage/
[Online]. Available: https://www.eia.gov/todayinenergy/detail.php?id=56880
[Online]. Available: https:
//www.caiso.com/Documents/FlexibleResourcesHelpRenewables_FastFacts.pdf
M. Roslan, M. Hannan, P. J. Ker, R. Begum, T. I. Mahlia, and Z. Dong, “Scheduling controller for microgrids energy management system using optimization algorithm in achieving cost saving and emission reduction,” Applied Energy, vol. 292, p. 116883, 2021.

## Slide 19: References II
M. Azimian, V. Amir, and S. Javadi, “Economic and environmental policy analysis for emission-neutral multi-carrier microgrid deployment,” Applied Energy, vol. 277, p. 115609, 2020.
F. H. Aghdam, N. T. Kalantari, and B. Mohammadi-Ivatloo, “A stochastic optimal scheduling of multi-microgrid systems considering emissions: A chance constrained model,” Journal of Cleaner Production, vol. 275, p. 122965, 2020.
A. Heydari, D. A. Garcia, F. Keynia, F. Bisegna, and L. De Santoli, “Renewable energies generation and carbon dioxide emission forecasting in microgrids and national grids using grnn-gwo methodology,” Energy Procedia, vol. 159, pp. 154–159, 2019.
B. V. Solanki, K. Bhattacharya, and C. A. Canizares, “A sustainable energy management system for isolated microgrids,” IEEE Transactions on Sustainable Energy, vol. 8, no. 4, pp. 1507–1517, 2017.

## Slide 20: References III
[10] H. U. R. Habib, A. Waqar, A. K. Junejo, M. M. Ismail, M. Hossen, M. Jahangiri, A. Kabir,
S. Khan, and Y.-S. Kim, “Optimal planning of residential microgrids based on multiple demand response programs using abc algorithm,” IEEE Access, vol. 10, pp. 116 564–116 626, 2022.
X. Zhong, W. Zhong, Y. Liu, C. Yang, and S. Xie, “Optimal energy management for multi-energy multi-microgrid networks considering carbon emission limitations,” Energy, vol. 246, p. 123428, 2022.
M. M. Gamil, S. Ueda, A. Nakadomari, K. V. Konneh, T. Senjyu, A. M. Hemeida, and
M. E. Lotfy, “Optimal multi-objective power scheduling of a residential microgrid considering renewable sources and demand response technique,” Sustainability, vol. 14, no. 21, p. 13709, 2022.

## Slide 21: References IV
[13] J. Garrido, M. J. Barth, L. Enriquez-Contreras, A. J. Hasan, M. Todd, S. Ula, and
J. Yusuf, “Dynamic data-driven carbon-based electric vehicle charging pricing strategy using machine learning,” in 2021 IEEE International Intelligent Transportation Systems Conference (ITSC). IEEE, 2021, pp. 1670–1675.
L. F. Enriquez-Contreras, A. J. Hasan, J. Yusuf, J. Garrido, and S. Ula, “Microgrid demand response: A comparison of simulated and real results,” in 2022 North American Power Symposium (NAPS). IEEE, 2022, pp. 1–6.
A. J. Hasan, L. F. Enriquez-Contreras, J. Yusuf, and S. Ula, “A comprehensive building load optimization method from utility rate structure perspective with renewables and energy storage,” in 2021 International Conference on Smart Energy Systems and Technologies (SEST). IEEE, 2021, pp. 1–6.
——, “A universal optimization framework for commercial building loads using ders from utility tariff perspective with tariff change impacts analysis,” Energy Reports, vol. 9, pp. 6088–6101, 2023.

## Slide 22: References V
N. Himabindu, S. Hampannavar, B. Deepa, and M. Swapna, “Analysis of microgrid integrated photovoltaic (pv) powered electric vehicle charging stations (evcs) under different solar irradiation conditions in india: A way towards sustainable development and growth,” Energy reports, vol. 7, pp. 8534–8547, 2021.
S.-G. Yoon and S.-G. Kang, “Economic microgrid planning algorithm with electric vehicle charging demands,” Energies, vol. 10, no. 10, p. 1487, 2017.
A. Purvins, C.-F. Covrig, and G. Lempidis, “Electric vehicle charging system model for accurate electricity system planning,” IET Generation, Transmission & Distribution, vol. 12, no. 17, pp. 4053–4059, 2018.
M. von Bonin, E. Dörre, H. Al-Khzouz, M. Braun, and X. Zhou, “Impact of dynamic electricity tariff and home pv system incentives on electric vehicle charging behavior: Study on potential grid implications and economic effects for households,” Energies, vol. 15, no. 3, p. 1079, 2022.

## Slide 23: References VI
23 / 25
B. Tan and H. Chen, “Multi-objective energy management of multiple microgrids under random electric vehicle charging,” Energy, vol. 208, p. 118360, 2020.
Y. Huang, H. Masrur, M. S. H. Lipu, H. O. R. Howlader, M. M. Gamil, A. Nakadomari,
P. Mandal, and T. Senjyu, “Multi-objective optimization of campus microgrid system considering electric vehicle charging load integrated to power grid,” Sustainable Cities and Society, vol. 98, p. 104778, 2023.
M. Khemir, M. Rojas, R. Popova, T. Feizi, J. F. Heinekamp, and K. Strunz, “Real-world application of sustainable mobility in urban microgrids,” IEEE Transactions on Industry Applications, vol. 58, no. 2, pp. 1396–1405, 2022.
[Online]. Available: https://openmodelica.org/
[Online]. Available: https://modelica.org/modelicalanguage.html
[Online]. Available: https://openmodelica.org/doc/OpenModelicaUsersGuide/latest/omedit.html

## Slide 24: References VII
[Online]. Available: https://simulationresearch.lbl.gov/modelica/
S. Patel, “Epri head: Duck curve now looks like a canyon,” Apr 2023. [Online]. Available:
https://www.powermag.com/epri-head-duck-curve-now-looks-like-a-canyon/
[Online]. Available: https://www.gov.ca.gov/2020/09/23/
governor-newsom-announces-california-will-phase-out-gasoline
[Online]. Available: https://afdc.energy.gov/stations/#/analyze?country=US&amp; fuel=ELEC&amp;ev_levels=2&amp;region=US-CA
[Online]. Available: https://www.gov.ca.gov/2023/08/02/
milestone-1-in-4-new-cars-sold-in-california-were-zero-emission/
[Online]. Available:
https://www.transportation.gov/rural/ev/toolkit/ev-basics/charging-speeds

## Slide 25: References VIII
D. T. Ton and M. A. Smith, “The us department of energy’s microgrid initiative,” The Electricity Journal, vol. 25, no. 8, pp. 84–94, 2012.
K. R. Padiyar and A. M. Kulkarni, Microgrids: Operation and Control, 2019, pp. 415–453.
[Online]. Available: https://numpy.org/